RMA#_42570____

RMA (Return Material Authorization) Information Request

In order for Madison Company to efficiently respond to our customer failures or product questions, we must have a minimum of information and if possible, a direct line of communication where used. Please provide as much of the available information below, so that we can best service you, our Customer.

Company: _Darpro Storage Solutions___          Contact Name__Kandis Mount___________

Customer Response Date:     7  / 29 /2021  	     Contact Ph. / e-mail: 567-233-3190 kmount@darlingii.com

PO# 				Part Number:	    			Qty: 1

Date Code:   (see label)

Description of Failure or Issue:

(Switch stays Open or Closed, Broken, No Output, Intermittent, etc.)

The short float that shuts the valve and sounds the full alarm isn't working at all.

Application: (Level Alarm, Pump Control, Special Conditions – Turbulence – Debris – Rough Handling -etc.)

Level Alarm

Has it been tested outside of the application? – via Ohm Meter, continuity tester, etc.

For electrical failures, has the customer reviewed the Electrical Considerations?

https://www.madisonco.com/electrical-considerations

Electrical Device connected to: (Include: Power, Current, and Voltage)

Relay_____ 	Motor_____	PLC_____	Panel Meter_____          Other_____

Fluid Type:   Used Cooking Oil

Max Application Temp.:

Has this device been used in a caustic and / or hazardous material?      Yes  (            No  (

QF-032 ACN # 929  6/26/18